|  |  |  |  | National Institute of Technology Meghalaya An Institute of National Importance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CURRICULUM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Programme |  |  |  | Bachelor of Technology in Civil Engineering |  |  |  |  |  |  |  |  |  |  |  |  | Year of Regulation |  |  |  |  |  |  |  |  |  | 2019-20 |  |  |  |  |  |  |
| Department |  |  |  | Civil Engineering |  |  |  |  |  |  |  |  |  |  |  |  | Semester |  |  |  |  |  |  |  |  |  | V |  |  |  |  |  |  |
| Course Code |  | Course Name |  |  |  |  |  |  |  | Pre requisite |  |  |  | Credit Structure |  |  |  |  |  |  |  | Marks Distribution |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  | L |  | T |  |  | P | C |  | INT |  |  | MID |  |  | END |  |  |  | Total |  |
| CE 311 |  | Environmental Engineering – II |  |  |  |  |  |  |  | Nil |  |  |  | 3 |  | 0 |  |  | 0 | 3 |  | 50 |  |  | 50 |  |  | 100 |  |  |  | 200 |  |
| Course Objectives |  | - To analyze the Waste water sources and waste water characteristics and to develop various waste water treatment process. |  |  |  |  |  |  |  |  |  | Course Outcomes |  |  |  | CO1 |  |  | Able to gain an experience in the implementation of environmental Engineering on engineering concepts which are applied in field. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | - To train the students on developing practical, efficient and cost effective solutions on problems and challenges on environmental sciences and engineering. |  |  |  |  |  |  |  |  |  |  |  |  |  | CO2 |  |  | Able to get a diverse knowledge of environmental engineering practices applied to real life problems. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | - To give an experience in the implementation of engineering concepts which are applied in field of waste Water treatment process. |  |  |  |  |  |  |  |  |  |  |  |  |  | CO3 |  |  | Able to learn to understand the theoretical and practical aspects of environmental engineering along with the design and management applications. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | - To present the foundations of many basic Engineering tools and concepts related Environmental Engineering. |  |  |  |  |  |  |  |  |  |  |  |  |  | CO4 |  |  | Able to identify environmental problems and solutions. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CO5 |  |  | Able to designing various physico-chemical unit processes and operations to achieve the desired water quality in water and wastewater systems. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. | COs |  | Mapping with Program Outcomes (POs) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Mapping with PSOs |  |  |  |  |  |  |  |
|  |  |  | PO1 |  | PO2 | PO3 | PO4 | PO5 | PO6 |  | PO7 |  | PO8 |  | PO9 |  |  | PO10 |  |  | PO11 |  | PO12 |  |  | PSO1 |  |  | PSO2 |  |  |  | PSO3 |
| 1 | CO1 |  | 3 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 3 |  |  |  | 0 |
| 2 | CO2 |  | 3 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 3 |  |  |  | 0 |
| 3 | CO3 |  | 3 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 3 |  |  |  | 0 |
| 4 | CO4 |  | 3 |  | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 3 |  |  |  | 0 |
| 5 | CO5 |  | 3 |  | 0 | 1 | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  |  | 3 |  |  |  | 0 |
| SYLLABUS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. | Content |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Hours |  |  |  |  |  |  | COs |  |  |
| I | Sanitary Engineering Definition of sullage, sewage, sewerage, sewer, refuge, garbage, sewage treatment/Disposal system and waste water management. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 04 |  |  |  |  |  |  | CO1, CO2, CO3 |  |  |
| II | Sewage Systems, Collection and Conveyance Strength of Sewage, Sampling of Sewage to analyze for Physical, Chemical and Biological Parameters; Decomposition of sewage, comparison, Design of Sewer; Domestic and industrial sewage, volume of domestic sewage, variability of flow, limiting velocities-Self cleansing and Maximum velocities of sewer; Types of Sewers. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 06 |  |  |  |  |  |  | CO3 |  |  |
| III | Waste Water Flow Estimation of Dry Weather Flow and Storm Water, Variation of flow, Estimation of design discharge. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 04 |  |  |  |  |  |  | CO3 |  |  |
| IV | Waste Water Characteristics Physical, chemical, and Biological characteristics of sewage and wastewater, effluent standards |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 04 |  |  |  |  |  |  | CO4 |  |  |
| V | Waste Water Disposal and Treatment Treatment Methods – Principles; Dilution, self-purification, Flow diagram of conventional sewage treatment plant, Primary treatment – screens, Grit Chambers, detritus tank, skimming tank, Type – III and Type – IV settling, Design of secondary sedimentation tank. Secondary treatment – Trickling fitters, Biological contractor, Activated sludge process, Sequencing Batch Reactor (SBR); Membrane Bioreactor (UASB); Waste Stabilization Ponds; oxidation pond and ditches, aerated lagoon; Tertiary Treatment of Sewage; Decentralised Sewage Treatment & Reuse. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 10 |  |  |  |  |  |  | CO5 |  |  |
| VI | Treatment and Disposal of Sludge Sludge characterization; Thickening; Design of gravity thickener; Aerobic and anaerobic digestion; Standard rate and High rate digester design; Biogas recovery; Sludge Conditioning and Dewatering; Sludge drying beds; Standards for Disposal Methods; dilution; Mass balance principle; Self purification of river; Oxygen sag curve. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 08 |  |  |  |  |  |  | CO5 |  |  |
| Total Hours |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 36 |  |  |  |  |  |  |  |  |  |
| Essential Readings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Environmental Engineering, Peavy H. S., Rowe D. R. and George Tchobanoglous, McGraw-Hill International. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Water Supply and Sewerage, McGhee T. J ., McGraw-Hill Inc., |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Garg, S.K., "Environmental Engineering", Vol. 1 & II Khanna Publishers, New Delhi, 2005. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Supplementary Readings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Introduction to Environmental Engineering, Davis M. L and Cornwell D. A McGraw-Hill, Inc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Wastewater Engineering- Treatment and Reuse, Metcalf & Eddy (Revised by G. Tchobanoglous, F. L. Burton and H. D. Stensel), Tata McGraw Hill. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Chemistry for Environmental Engineers, Sawyer C. N., McCarty P. L and Parkin G. F., McGraw- Hill. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - APHA, Standard Methods Examination of Water and Wastewater, American Public Health Association, Washington DC, 1995. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| - Manual for water supply and treatment, Central Public Health & Environmental Engineering Organization, Ministry of Housing and Urban Development, Govt. of India, 1999. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |