PH 522: Measurement Techniques and Cryogenics (3-0-0:3)

Kinetic Theory of Gases: Behaviour of gases, pressure of gases, Maxwell’s law, gas transport phenomenon; viscous, molecular and transition flow regimes.                                                          [4L]

Vacuum Generation:  Measurement of pressure, residual gas analyses; production of vacuum - mechanical pumps, rotary vane pumps, diffusion pump, cryopumps, turbo-molecular pumps, getter and ion pumps, choice of pumping process.                                                                                       [8L]

Vacuum Measurement: Fundamentals of low-pressure measurement, vacuum gauges- McLeod gauge, pirani gauge, penning gauge, thermal conductivity gauges - cold cathode and hot cathode ionisation gauges, materials in vacuum; high vacuum, and ultra high vacuum systems, leak detection.

[10L]

Noise Control: Basics of sound and noise, noise sources; types and measurement, noise screening, principles of noise control, silencers and their types.                                                                         [4L]

Cryogenics: Properties of engineering materials at low temperature, cryogenic fluids and their physical properties, super-fluidity, refrigeration; pomeranchuk cooling, thermoelectric coolers, closed cycle refrigeration, single and double cycle He3 refrigerator, He4 refrigerator, cryostat design; cryogenic level sensors, handling of cryogenic liquids; cryogenic fluid storage, insulations, cryogenic fluid transfer systems, cryogenic thermometry.                                                                               [10L]

Textbooks and References

- D. M. Hoffman, B. Singh and J. H. Thomas, “Handbook of Vacuum Science and Technology”, Academic Press Limited.

- J. M. Lafferty, “Foundations of Vacuum Science and Technology”, Wiley-Blackwell.

- V. V. Kostionk, “A Text Book Of Cryogenics”, Discovery Publishing House.

- T. M. Flynn, “Cryogenic Engineering”, Marcel Dekker.

- P. V. E McClintock, D. J. Meredith and J. K. Wigmore, “Low-temperature Physics: An Introduction for Scientists and Engineers”, Springer Science.